{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":[" DESCRIPCIÓN DE CAPTACIONES","PLANTAS POTABILIZADORAS","Auxiliar"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":" DESCRIPCIÓN DE CAPTACIONES","index":0,"n_rows":11,"n_cols":15,"rows_kept":11,"cut":false,"hidden":true,"merged":[[10,0,10,16],[9,1,9,2],[9,3,9,4],[9,5,9,7],[9,10,9,11],[9,12,9,13],[9,14,9,16],[8,14,8,16],[7,1,7,2],[7,3,7,4],[7,5,7,7],[7,10,7,11],[7,12,7,13],[7,14,7,16],[8,1,8,2],[8,3,8,4],[8,5,8,7],[8,10,8,11],[8,12,8,13],[6,14,6,16],[5,1,5,2],[5,3,5,4],[5,5,5,7],[5,10,5,11],[5,12,5,13],[5,14,5,16],[6,1,6,2],[6,3,6,4],[6,5,6,7],[6,10,6,11],[6,12,6,13],[4,14,4,16],[1,14,2,16],[2,1,2,2],[2,3,2,4],[3,1,3,2],[3,3,3,4],[3,5,3,7],[3,10,3,11],[3,12,3,13],[3,14,3,16],[1,12,2,13],[4,1,4,2],[4,3,4,4],[4,5,4,7],[4,10,4,11],[4,12,4,13],[1,0,2,0],[1,1,1,4],[1,5,2,7],[1,8,1,9],[1,10,2,11]]}
["1.    DESCRIPCIÓN DE CAPTACIONES"]
["TIPO DE FUENTE","NUMERO DE FUENTES",null,null,null,"CAPACIDAD INSTALADA EN OPERACIÓN\nl/s",null,null,"CON MACROMEDICIÓN\nFUNCIONANDO",null,"VOLUMEN ANUAL PRODUCIDO\nMm3/año",null,"CAUDAL MEDIO PRODUCIDO\nl/s",null,"CAUDAL DESINFECTADO\nl/s"]
[null,"OPERAN",null,"NO\nOPERAN",null,null,null,null,"No.\nFUENTES","CAUDAL\nl/s"]
["POZO  PROFUNDO",null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(M4<> \"\", IF(M4<>0,  (#REF!/M4), \"\"), \"\")","v":""}]
["TOMA DEL RIO",null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(M5<> \"\", IF(M5<>0,#REF!/  M5*100, \"\"), \"\")","v":""}]
["TOMA DE PRESA",null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(M6<> \"\", IF(M6<>0,#REF!/  M6*100, \"\"), \"\")","v":""}]
["GALERIA FILTRANTE",null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(M7<> \"\", IF(M7<>0,#REF!/  M7*100, \"\"), \"\")","v":""}]
["MANANTIAL",null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(M8<> \"\", IF(M8<>0,#REF!/  M8*100, \"\"), \"\")","v":""}]
["OTROS (especifique)",null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"IF(M9<> \"\", IF(M9<>0,#REF!/  M9*100, \"\"), \"\")","v":""}]
["TOTAL",{"$f":"SUM(B4:B9)","v":0},null,{"$f":"SUM(D4:D9)","v":0},null,{"$f":"SUM(F4:F9)","v":0},null,null,{"$f":"SUM(I4:I9)","v":0},{"$f":"SUM(J4:J9)","v":0},{"$f":"SUM(K4:K9)","v":0},null,{"$f":"SUM(M4:M9)","v":0},null,{"$f":"SUM(O4:O9)","v":0}]
["Nota: Adicionar los renglones que sean necesarios."]

{"sheet":"PLANTAS POTABILIZADORAS","index":1,"n_rows":26,"n_cols":5,"rows_kept":26,"cut":false,"hidden":false,"merged":[[0,0,0,4]]}
["PLANTAS POTABILIZADORAS"]
["NOMBRE DE LA PLANTA","TIPO DE PROCESO","CAPACIDAD INSTALADA\n(l/s)","CAUDAL MEDIO ANUAL TRATADO (l/s)","UBICACIÓN"]
["La Albarrada","Luz ultravioleta",2.5,1.5]
["Lázaro Cárdenas","Luz ultravioleta",2.5,1.5,"Entre calles Malva y Lirio"]
["Lo de Villa","Luz ultravioleta",2.5,1.5,"Conocido Acatitán, Col."]
["Solidaridad","Luz ultravioleta",2.5,1.5,"Entre calles Akolliman y Laguna de Alcuzahue"]
["Ramón Serrano","Luz ultravioleta",2.5,1.5,"Entre calles Roberto Suares Olvera y Jose de Ruiz"]
["Cardona","Luz ultravioleta",2.5,1.5,"Conocido Cardona, Col."]
["Acatitán","Luz ultravioleta",2.5,1.5,"Conocido Acatitán, Col."]
["Las Guásimas","Luz ultravioleta",2.5,1.5,"Conocido Las Guasimas, Col."]
["Piscila","Luz ultravioleta",2.5,1.5,"Conocido Piscila, Col."]
["Tepames","Luz ultravioleta",2.5,1.5,"Conocido Tepames, Col."]
["El Amarradero","Luz ultravioleta",2.5,1.5,"Conocido El Amarradero, Col."]
["Tinajas","Luz ultravioleta",2.5,1.5,"Conocido Tinajas, Col."]
["El Astillero de Arriba","Luz ultravioleta",2.5,1.5,"Conocido El Astillero de Arriba, Col."]
["Ignacio Allende","Luz ultravioleta",2.5,1.5,"Conocido Ignacio Allende, Col."]
["Puerta de Anzar","Luz ultravioleta",2.5,1.5,"Conocido Puerta de Anzar, Col."]
["El Chanal","Luz ultravioleta",2.5,1.5,"Conocido El Chanal, Col."]
["Juluapan","Luz ultravioleta",2.5,1.5,"Conocido Juluapan, Villa de Alv."]
["Agua Dulce","Luz ultravioleta",2.5,1.5,"Conocido Agua Dulce, Villa de Alv."]
["Nuevo Naranjal","Luz ultravioleta",2.5,1.5,"Conocido Nuevo Naranjal, Villa de Alv."]
["El Alpuyequito","Ósmosis inversa",2,1,"Conocido El Alpuyequito, Col."]
["Estapilla","Ósmosis inversa doble membrana",2,1,"Conocido Estapilla, Col."]
["Las Golondrinas","Ósmosis inversa doble membrana",2,1,"Conocido Las Golondrinas, Col."]
["Los Ortices","Ósmosis inversa",2,1,"Conocido Los Ortices, Col."]
["Los Asmoles","Ósmosis inversa",2,1,"Conocido Los Asmoles, Col."]

{"sheet":"Auxiliar","index":2,"n_rows":6,"n_cols":1,"rows_kept":6,"cut":false,"hidden":true,"merged":[]}
[]
[1]
[2]
[3]
[4]
[5]